UNITEC AT400 Door Operator Survey Form

| Company Name: thyssenkrupp Elevator - Sonic | Date: 6/5/2018 |
| --- | --- |
| Contact Name & Phone: Click here to enter text. |  |

Instructions:  Complete the required information marked (*) and fax to UNITEC at 860.286.1625.

| Modernizing the Controller? |  |  |  | Retaining Existing Controllers: | NOTE: UNITEC quotes AT400 operator upgrade package. |
| --- | --- | --- | --- | --- | --- |
| Quote the UNITEC AT400 Operator |  | Check here and Below |  |
|  |  | Existing Operator Type:* | 7300 AC | 7777 (PWM) | 7777 (Resistance Cont.) |
|  |  |  | 6970 | 7770A | Other |
| Want UNITEC to quote a new controller? |  | NOTE: How to determine PWM or resistance control? If you have a silver box approximately 14 in. square on the car top with a PC board inside, you have PWM existing screw operator. |
|  |  | Ask UNITEC for a controller survey form by calling 800.328.7840. |

| Original Controller Data Tag Info/Controller Type: | 211 |
| --- | --- |
| (Example: 10, 21, 30 UCLS, LRV3) | Click here to enter text. |
| Controller Voltage*: | 480 |
| Wiring Diagram Number: | ABA21241V7-457435 |
| If Otis, Original Sales Number*: | 468975 | Check if Non-Otis |
| Address of Installation: | Click here to enter text. |  |
| Existing Entrance Quantity, Type and Size*: | Click here to enter text. |  |
| (Example: 5 @ 48 in. wide x 84 in. high) | LH | RH | S/S | C/O | 2-SPD |

| As part of your Mod or service upgrade, would you like UNITEC to quote you the following options? |
| --- |
| Otis 6940 Interlocks | Hydraulic Power Units |
| UNITEC Tracks and Hangers | Car or Hall Door Panels |
| UNITEC Folding Door Restrictors | Door Bottom Retainers and Guides |
| UNITEC OPTIGUARD Door Protection | Emergency Return Unit |

Power and Signal Requirements for UNITEC AT400 Door Operator Retrofit

| Function | Designation or Requirements | Number of Wires |
| --- | --- | --- |
| Door Power | 90–132 VDC* at 3 Amps | Two |
| Door Signal Power | 19–24 VDC at .2 Amps | Two |
| Output Signals | Door Open Limit (DOL Signal) Door Close Limit (DC Signal) | Two |
| Input Signals | Door Open (DO Signal) Door Close (DC Signal) Nudge (NDG, if required) | Three |
| Traveling Cable | Nine 18–Gauge Conductors | --- |
| * DC voltage. Unless told otherwise, UNITEC will always quote the specifically designed, highly filtered DC power supply/transformer for the AT400 door operator. |

NOTE:  Installation instructions provide specific wiring guidance for the most popular Otis controllers used with the 7777 (screw) operator and the 7300 operator (i.e., LRV3, 10UCLS, 21UCLS, 30UCLS, and 10N1BLS, 21N1BLS, and 30N1BLS).

|  | E-mail Survey to info@unitecparts.com |
| --- | --- |